OUTLINE FOR FENCE REPLACEMENT BID FOR THE FOX RUN HOA LOCK UP AREA                            NOVEMBER 2007

1) ALL BIDS ARE FOR THE TOTAL JOB AMOUNT:  INCLUDING MATERIALS, LABOR ,TAXES, AND DEBRIS REMOVAL WITH A COMPLETED JOB TIME FRAME.
      ( APPROX. START DATE AND COMPLETED DATE)

2) ALL MATERIALS ARE WITHIN MARTIN COUNTY BUILDING CODE PARAMETERS. 
3) THE INSTALLATION WILL MEET MARTIN COUNTY BUILDING CODE PARAMETERS.
4) FENCE MATERIALS WILL BE OF "COMMERCIAL" GRADE.   

- THERE WILL BE TWO SEPARATE BIDS : 

 BID # 1 : 

 CONSISTING OF :   THE REMOVAL AND INSTALL NEW.

-  ENTIRE FENCE ON EAST SIDE OF LOCK UP. WE WOULD LIKE TO HAVE A 6 FOOT CHAIN LINK FENCE WITH STANDARD POSTS                                                                           CEMENTED ,TOP RAIL, SLATS, WITH BARBED WIRE ON TOP WITH THE FENCE ENDING TO THE WATER'S EDGE AS WITH THE EXISTING FENCE.

BID # 2:

  THE  REMOVAL AND INSTALL NEW, THE ENITRE FENCE/GATE CONFIGURATION FROM THE EAST CORNER ON THE SOUTH SIDE OF THE LOCK UP AREA TO THE 
    WEST WATERWAY CANAL. 

 CONSISTING OF :

   - STRAIGHTENING THE FRONT GATE LINE. CURRENTLY IT IS NOT A STRAIGHT LINE. WE WANT THIS TO BE RE-DONE INTO A STRAIGHT LINE FROM THE CURRENT SOUTHEAST
CORNER POST TO THE END OF THE GATE LINE.
- 4 SETS OF DOUBLE SWING GATES WITH A 14 FOOT EFFECTIVE OPENING, AS PLACED PER DIAGRAM. GATES SHOULD BE OF 6 FOOT CHAIN LINK WITH SLATS,
BARBED WIRE, WELDED FRAMES , WITH DROP RODS. WE WANT TO ELIMINATE APPROX. 1 FOOT FENCE BETWEEN THE EXISTING GATES AND HAVE 2 GATES MOUNTED ON
1 OVERSIZE POST CEMENTED APPROX. 6 INCH IN DIAMETER. ALSO, WE WOULD LIKE TO HAVE THE CORED DROP ROD HOLES LINED WITH GALVANIZED PIPE , LOCATION AS PER DIAGRAM.THE GATES WILL HAVE A "LOCKCABLE" LATCH SYSTEM. 

-FENCE FROM WEST END OF THE GATE LINE TO THE CANAL IS TO FOLLOW THE CURRENT FENCE LINE AS SHOWN IN THE DIAGRAM. WE WOULD LIKE THE FENCE FROM THE CANAL TO WESTERN GATE POST TO BE A 6' CHAIN LINK ON STANDARD POSTS ,CEMENTED WITH THE TOP RAIL,SLATS,WITH
BARBED WIRE WITH THE FENCE ENDING TO THE WATER'S EDGE AS WITH THE EXISTING FENCE. 

- AS FOR THE FENCE SLATS. WHAT ARE THE COLOR CHOICES AND  PRICE DIFFERENCE FOR COLOR, IF ANY.  

                  IF YOU HAVE ANY QUESTIONS , PLEASE CALL:         MIKE NIELSEN AT 305-731-5612